## Sheet1
New House Homeowners Specification Checklist
Item # | Item and descriptions |  | Notes, Make & Model Numbers
1 | Use this list to identify and specify all information you wish to be included in quotes and final contract with your builder.
2 | Windows | Low-E Glass on at least the south elevation
Double Hung, single hung, casement
Transoms and specialty windows
3 | Electrical | Select style of outlets and switches and wall plates
Locations and quantities beyond code reqmts.
Low voltage lighting
2/3&4-Way switching
Switch controlled outlets
Specialty outlet locations (floor, soffit, outdoor, etc.)
4 | Moldings: Type of wood- Primed MDF, Pine, Oak, etc. (Painted/Stained)
Door & Window Casing
Crowns
| (remember-moulding details can | Chair Rails
| be made up of multiple shapes | Wd. Handrails
| of moulding) | Window Sills
Fireplace Mantles & Surrounds
Base
5 | Appliances: Model no.s & Color | Refridgerator
Oven/Range
Dishwasher
Microwave
Cooktop
Vent hood
Blender
Coffee Maker
Toaster
6 | Plumbing Fixtures: | Model No.s & Color
Sinks (lavatories)
Faucetry
Bathtub(s) - whirlpool (in-line heater)
Shower Units
Toilets
Garbage Disposal
Water Purifier
Water Softener
Ice Maker
Hot Water Dispenser
Laundry Tub
Hot Water Tank(s) (w/ circulating pump)
Sump Pump
7 | Countertops: | Granite (name)
Solid Surface (manmade)
Laminate (Formica, Wilsonart, etc.)
Tile (backsplash details)
8 | Flooring: | Tile (size, color, finish, grout color)
(have contractor seal all grout)
Marble (size, name)
Wood (type of wood, size, pre-finished
v-groove, color, finish
Carpet (type, color, pattern, in-laid,
padding)
Stair Treatment (carpet runner)
Concrete (stamped&colored, brushed,
california edges, sealer, painted)
Radiant Floor Heating
9 | Cabinetry: (kitchen, bath, utility, laundry) | Manufacturer (wood type & finish/color)
Door Styles
Door Hardware (door pulls)
Lighting (above/below upr cabinets)
3' High Vanities
Special Trim (crowns, valences, furniture
bases & end treatments)
10 | Organizers: | Closets
Cabinets
Utility Room
11 | Central Vaccuum: | Model No. w/ Accessories
Floor sweep inlet under Kitchen cabinet
Make provisions for future expansion in
Basement.
12 | Front & Rear Entry Doors | Select style, make & model no., color,
| (include window transom above.) | door hardware.
13 | Interior Doors: | Style - 6-Panel, 3-Panel, 2-Panel, etc.
Solid or Hollow Core
Wood (Oak, Pine) or Primed Masonite
Door Hardware (doorknobs, stops, door
jamb switches for closet lights)
14 | Garage Door(s): | Make & Model (style, color)
Door openers (Make & Model, keypad
entry, lighted push button switchs.
Make sure contractor pre-wires for
safety sensors.
15 | Communications: (locations & | Cable TV (use RG6U cable)
| quantities. At the very least | Telephone
| pre-wire for future use. Wire | Network (use Cat 5 min.)
| is very inexpensive. | Sound (shielded speaker cable)
Fiber Optic
| (note- consider purchasing a | Security wiring
| communication "center" with | Provide 2" min. PVC piping from basement to
| modular componants and | 2nd floor attic space (for future changes)
| ability to expand.) | (insert wads of insulation at both ends
for firestopping.)
16 | Fireplace(s): | Make & Model (include Glass Doors)
Hearth / Mantle & Surround treatments
Gas Log sets (Make & Model, make
sure contractor prvides gas
supply line for each.
Masonary - select decorative clay flu top.
17 | Wall Finishes: | Paint (make, color, finish)
Ceilings - specify ceiling flat white paint.
Make sure contractor will caulk all
mouldings to wall / ceiling.
18 | HVAC: | Type (Forced hot air, Radiant, Heat Pump)
| (note-make certain to seal | Make & Model
| & cover heat registar openings | Electronic Air Cleaner
| during construction to prevent | Humidifier
| construction dust & dirt.) | Set-back Programable thermostats
Interruptable electric service for Air Conditioner
Power Venting for Attic Space(s)
Ceiling Fans/Vents for Bathroom & Kitchen
(Make & Model, Sones(sound volume))
19 | Light Fixtures: | Chandeliers
Vanity Lighting
Ceiling mounted lights
Closet Lights
Path Lighting (hallways/stairs)
side and rear entry points)
Wall mounted lamps at bedroom night stands
Coach Lamps (either side of garage doors,
side and rear entry points)
Exterior / Security lighting.
Lamp Post & Landscape lighting &
Exterior outlets for holiday lighting (make
cetain that contractor provides access
(pipe/tube) under drive & walk way for
future installation.)
20 | Automated Lawn Sprinklers | Make certain contractor provides access
(pipe/tube) under concrete drive & walk
way for future installation.)
21 | Utility Preparations: | Prep for future installations of Gas Bar-B-Que,
Swimming Pool, Hot Tub, etc.
22 | Photographic Record: | Make a photographic record of every wall,
ceiling, floor (ie. Rough plumbing under
basement floor before being covered.)
before being insulated for future reference.
23 | Gutters & Downspouts: | Select style & color.
Make certain contractor provides for collection
from downspouts and dispursal to yard.
24 | Masonry / Shingles: | Select type, style, color.
Research, identify (photograph) desired brick
detailing (ie.- Quoining, rowlocks, walking
soldier, patterns (herringbone…)
Determine if extra brick may be needed for
future patio, bar-b-que, etc.
25 | Consider having stairs in garage to
basement.
26 | Insulation: | Make certain contractor caulks floor to bottom
plate of walls & any side-by-side wall studs.
Determine what walls and floors should be
insulated for soundproofing. (minimum-
bathrooms,bedrooms & utility rooms.)
Consider insulating all garage walls and ceiling.
Type of insulation - batt, spray foam, blown-in
27 | Water Service: | Specify 1" water supply service.
Install separate water meter for lawn
sprinklers and 1 outside hose bib.
28 | Laundry Chutes